## Slide 1
Building Drawing
N1

## Slide 2
www.futuremanagers.com
BUILDING INSTRUMENTS
Instruments necessary for doing building drawings include:
Graphic pencils;
Erasers;
T-squares;
Protractors; and
Compasses.
Module 1: Basic drawing skills and information

## Slide 3
www.futuremanagers.com
Module 1: Basic drawing skills and information (continued)
DRAWING-PAPER SIZES
The international ‘A’ series paper sizes are used for all technical drawings.

## Slide 4
www.futuremanagers.com
Module 1: Basic drawing skills and information (continued)
LETTERING AND ANNOTATION
The letter characters must be legible and capable of being produced by hand at a reasonable speed.
Letter characters should be open form and all embellishments must be avoided for the sake of clarity.
Vertical or sloping characters are suitable but should not be mixed on any one drawing.

## Slide 5
www.futuremanagers.com
Module 1: Basic drawing skills and information (continued)
DIMENSIONING
A dimension stipulates the distance that two points are apart.
Relate all dimensions to faces, structural materials or centre lines.
Do not duplicate dimensions on the same drawing.
Do not take physical measurements from a drawing.
Always draw dimension lines in such a position that they are not confused with the subject.
Clearly show the points to which dimension lines relate.

## Slide 6
www.futuremanagers.com
Module 1: Basic drawing skills and information (continued)
DRAWING TO SCALE
We measure with a scale ruler to draw a building drawing to scale.
Triangular profiled scale rulers are commonly calibrated to the most commonly used drawing scales i.e. 1:10, 1:100, 1:20, 1:200, 1:25, 1:250, 1:50, 1:500, 1:75 and 1:750.

## Slide 7
www.futuremanagers.com
Module 1: Basic drawing skills and information (continued)
LAYOUT OF DRAWING SHEETS
Drawing sheets should be aligned with the edge of the board and aligned using a T-square. Use masking tape to secure the board as below.

## Slide 8
www.futuremanagers.com
INTRODUCTION
The word geometry is derived from two Greek words. The first part of the word geometry is taken from the Greek word ge, which means earth, and the second part is taken from the Greek word metron, which means measure. Thus, early geometry had to do with earth measurement.
Module 2: Basic geometrical drawing

## Slide 9
www.futuremanagers.com
PRINCIPLES OF PROJECTION
When making any orthographic projection, the projection lines (eye lines) are parallel to each other and always perpendicular (at right angles) to the projection plane.
Module 3: Orthographic projection

## Slide 10
www.futuremanagers.com
INTRODUCTION
Making first angle orthographic projections of front, top and left views of basic geometric solids shown in pictorial view.
Module 4: First angle orthographic projections of geometric solids

## Slide 11
www.futuremanagers.com
Module 4: First angle orthographic projections of geometric solids (continued)
STEP 1
Draw centre lines through the centre of your drawing sheet.
Draw a line at 45° from the origin in the 3rd quarter as shown.
Draw a horizontal construction line 20 mm from the horizontal centre line in quarter 4 to intersect the 45° line.
From this intersection, draw a construction line parallel to the vertical centre line.

## Slide 12
www.futuremanagers.com
Module 4: First angle orthographic projections of geometric solids (continued)
STEP 2
From the horizontal centre line, measure the height of the figure.
From the vertical centre line, measure the width of the figure to the left.
From the 20 mm line below the horizontal centre line, measure the depth of the figure.
Draw a construction line from this measurement to the right to intersect the 45° line and then vertically to show the depth in the 2nd quadrant.

## Slide 13
www.futuremanagers.com
Module 4: First angle orthographic projections of geometric solids (continued)
STEP 3
Measure the front view subsections and project these to the top view.
Measure the top view subsections and project them across to the 45° line.
From the intersection on the 45° line, project these measurements vertically upwards to show them in the 2nd quadrant.
Finally, dimension and label the views and complete the page border and title block.

## Slide 14
www.futuremanagers.com
ISOMETRIC PROJECTION
An isometric projection of an object gives a pictorial view of the object which shows the three major views simultaneously. It shows a three-dimensional drawing of the object. An isometric projection only shows the shape of the object. Unlike orthographic views, isometric views are not normally used to manufacture objects because the elements of this view are not true to real size.
Module 5: Isometric and oblique projection

## Slide 15
www.futuremanagers.com
Module 5: Isometric and oblique projection (continued)
BRICKS
The process of brick manufacture varies according to the type of clay and the machinery used. Bricks are moulded either by machinery or by hand. Bricks are made mostly by machinery today. Machine-made bricks: The various processes are preparation of the earth, moulding, drying and burning.

## Slide 16
www.futuremanagers.com
HATCHING SYMBOLS
Module 6: Hatching symbols, course assignment and setting out of buildings

## Slide 17
www.futuremanagers.com
Module 6: Hatching symbols, course assignment and setting out of buildings (continued)
THE SETTING-OUT OF A BUILDING
Before a new building can be set-out, the following needs to be done:
The land must be surveyed with an instrument called a dumpy level to determine differences in ground level. On sloping sites, it may be necessary to level the surface before setting-out can start. This is done by excavating the higher parts and removing the soil to the lower parts.
The foundation trenches must be set out or pegged out before they can be excavated.

## Slide 18
www.futuremanagers.com
CONCRETE STRIP FOUNDATIONS
The natural of a house is the ground on which the house is built. And an artificial foundation is the extended bases which are constructed of concrete and bricks. Artificial foundations for dwellings are constructed of a concrete bed. This type of foundation is the most common and is known as a strip foundation. The main purpose of the foundation is to distribute the weight of the building over a larger area.
Module 7: Foundations

## Slide 19
www.futuremanagers.com
CONCRETE FLOORS
The vertical cross section of a concrete floor looks as follows:
Module 8: Floors

## Slide 20
www.futuremanagers.com
Module 8: Floors (continued)
SUSPENDED WOODEN FLOORS
The vertical cross section of a suspended floor looks as follows:

## Slide 21
www.futuremanagers.com
BRICK BONDING PATTERNS
To build a wall, bricks are embedded in mortar and are arranged in a certain pattern for strength and appearance. The strength depends on the brick bonding pattern that is used. A brick bond is the interlacement formed when the bricks overlap those immediately below and above them. There are many types of bonds, but we will confine ourselves to the stretching bond and the English bond.
Module 9: Brick bonding

## Slide 22
www.futuremanagers.com
INTRODUCTION
A lintel is a horizontally fixed member of wood, brick or concrete to support the structure above an opening like a door or a window. Most lintels used today are made of reinforced concrete.
Module 10: Lintels

## Slide 23
www.futuremanagers.com
Module 10: Lintels (continued)
BRICK LINTELS
These are horizontal members built of bricks on end or on edge to support the structure above doors and windows.
This type of lintel is not suited to support heavy loads and is quite a weak form of construction.
They are only used to span small openings with a span less than 900 mm.
Brick lintels are commonly built with pressed bricks having frogs which are filled with mortar. This type is known as a joggled brick lintel.

## Slide 24
www.futuremanagers.com
Module 10: Lintels (continued)
REINFORCED CONCRETE LINTELS
The concrete must be strengthened by mild steel bars if the above span is to be exceeded.
The number and the size of the steel rods depend upon the span and width of the lintel, as well as the load that is to be supported.
The height of the lintel will increase as the span increases.
The ends of the steel rods are curved and sometimes hooked for wider spans.

## Slide 25
www.futuremanagers.com
BRICK ARCHES
Relatively small units, such as bricks or masonry blocks, make up the structure of an arch.
These brick or masonry units are wedge shaped, and join together by mortar to span the opening to support the load above.
The units support each other because of their wedge shape.
The units are made compact by the weight above, enabling them to transmit the pressure downwards to the supporting wall.
Module 11: Arches

## Slide 26
www.futuremanagers.com
Module 11: Arches (continued)
HOW ARCHES ARE CLASSIFIED
Arches are classified according to their shape and the materials used.
Common forms of arches are: flat, segmental or semi-circular. Rarely used arches are elliptical or pointed.
The brick units (voussoirs) may consist of rubber bricks, purpose-made bricks or standard bricks.

## Slide 27
www.futuremanagers.com
STEEL CASEMENT WINDOWS
A steel casement window refers to a steel window sash that is hinged to a steel window frame. They include fixed lights, side and top hung casements and pivoted casements. A casement has a sash which is attached to the window frame by hinges while a fixed light consists of a frame only.
Module 12: Windows

## Slide 28
www.futuremanagers.com
Module 12: Windows (continued)
WOODEN CASEMENT WINDOW
This consists of a wooden glazed sash which fits snuggly into the rebates (jambs) of a solid wooden window frame. The sash is hinged to the frame by two hinges and is normally opens outward to avoid interference with the curtains and also to prevent rainwater from dripping onto the floor when the window is opened. A sash is either top hung, bottom hung or side hung. The sash could also be installed to pivot in the centre of the frame.

## Slide 29
www.futuremanagers.com
TIMBER OUTSIDE DOORS
Different types of outside doors include:
Ledged and battened doors;
Ledged, braced and battened doors;
Framed, ledged, braced and battened doors;
Flush doors; and
Panelled doors.
Module 13: Timber doors

## Slide 30
www.futuremanagers.com
INTRODUCTION
To build roof trusses, planed stress graded timbers are gang-nailed or bolted together.
These trusses are erected commonly in the shape of triangles.
The rafters and the tie-beam are also joined together by a timber web of struts and ties which forms a secondary set of triangles.
Roof trusses are placed at relatively close distances to form the support frame of the roof.
Module 14: Roof trusses

## Slide 31
www.futuremanagers.com
EAVES, GUTTERS AND DOWNPIPES (RAINWATER GOODS)
The drawing shows the vertical sectional views of the outside walls and roof eaves of a building. This demonstrates the fixing and details of rainwater gutters and downpipes.
Module 15: Gutters and downpipes

## Slide 32
www.futuremanagers.com
GLAZED EARTHENWARE SEWERAGE DRAINS
A section through a straight glazed earthenware drainage pipe looks like the following:
Module 16: Drainage

## Slide 33
www.futuremanagers.com
Module 16: Drainage (continued)
GLAZED EARTHENWARE DRAIN JOINT